## RunSummary
E545 | Date | Start Time | Stop Time | Duration | Category | Comment | End Comment | Target | FC | Beam Current | BI Range | Trigger Mode | GR Single Sampling Rate | LAS Single Sampling Rate | GR TRG | GR TRG | LAS TRG | LAS TRG | COIN | GR CLK | GR CLK | GR | GR | GR | GR | GR VDC | GR VDC | GR VDC | LAS | LAS | LAS | LAS | LAS VDC | LAS VDC | LAS VDC | LAS VDC | GR Pla | GR Pla | GR Pla | GR Pla | LAS Pla | LAS Pla | LAS Pla | LAS Pla | LAS Pla | LAS Pla | LAS Pla | LAS Pla | BLP1 |  |  |  | BLP2 |  |  |  | Akimune |  |  |  | Notification
2024 Jun | [9 empty] | nA | nA |  | Not GR Sampling in Ratemeters | Not LAS Sampling in Ratemeters | Req | Live | Req | Live | Req | Req | Live | Angle | Collimator | D mag. | Q1 | Current | Cath. | Pot. | Angle | Collimator | D Mag. | Q | Current 1 | Current 2 | Cath. | Pot. | 1L HV | 1R HV | 2L HV | 2R HV | 3L HV | 3R HV | 4L HV | 4R HV | 5L HV | 5R HV | 6L HV | 6R HV | Left | Right | Up | Down | Left | Right | Up | Down | Up | Down | Left | Right
| Ctrl + ; | Ctrl + Shift + ; | Ctrl + Shift + ; | hh:mm:ss | [10 empty] | Hz | Hz | Hz | Hz | Hz | Hz | Hz | deg |  | mT | A | mA | V | V | deg |  | mT | A | mA | mA | V | V | V | V | V | V | V | V | V | V | V | V | V | V | Hz | Hz | Hz | Hz | Hz | Hz | Hz | Hz | Hz | Hz | Hz | Hz
Example | 2024-03-23 | 10:36 | 10:36 | 0:00 | Physics | 40Ca(p,pa), thetaCM=60deg, GR 1/50, LAS 1/100 |  | Blank |  | 64 | 200 | GR+LAS | 10 | 100 | 2908.7 | 2806 | 33577.6 | 32307 | 91.7 | 10k | 9716 | 43.27 | Blank | 631.09 | 114.298 | 0.565 | 5700 | 300 | 54.35 | LR50UD60 | 912.232 |  | 0.1 | 0.025 | 4550 | 310 | 2000 | 2300 | 2000 | 2000 | 2300 | 2300 | 2500 | 2450 | 2500 | 2700 | 2350 | 2500 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 1 | 1809 | 654 | 1450 | 2142
9 | 2025-03-21 |  |  |  | Calib | brhoを100%に変更 |  | 204Pb | Wall | [12 empty] | 28 | Blank | 1047.656 | 125.741 | 0.0002 | 5800 | 300 |  | Sieve | V: 2500; V: 2700; V: 2700; V: 2700; V: 3000; V: 3000; V: 0; V: 0; V: 0; V: 0; V: 0; V: 0
10 | 2025-03-21 |  |  |  | Calib | brhoを+101%に変更 |  | 204Pb | Wall | [12 empty] | 28 | Blank |  |  | 0.0002 | 5800 | 300 |  |  | V: 2500; V: 2700; V: 2700; V: 2700; V: 3000; V: 3000; V: 0; V: 0; V: 0; V: 0; V: 0; V: 0
11 | 2025-03-21 |  |  |  | Calib | brhoを+102%に変更 |  | 204Pb | Wall | [12 empty] | 28 | Blank |  |  | 0.0002 | 5800 | 300 |  |  | V: 2500; V: 2700; V: 2700; V: 2700; V: 3000; V: 3000; V: 0; V: 0; V: 0; V: 0; V: 0; V: 0
12 | 2025-03-21 |  |  |  | Calib | brhoを+102%に変更、AKIMUNEを抜いた |  | 204Pb | Wall | 10 | 60 | GR Single | 16k | [8 empty] | 28 | Blank |  |  | 0.0002 | 5800 | 300 |  |  | V: 2500; V: 2700; V: 2700; V: 2700; V: 3000; V: 3000; V: 0; V: 0; V: 0; V: 0; V: 0; V: 0
13 | 2025-03-21 |  |  |  | Calib | junk | JUNK |  |  |  |  | GR Single | [9 empty] | 28 | Blank |  |  | 0.0002 | 5800 | 300 |  |  | V: 2500; V: 2700; V: 2700; V: 2700; V: 3000; V: 3000; V: 0; V: 0; V: 0; V: 0; V: 0; V: 0
14 | 2025-03-21 |  |  |  | Calib | junk | JUNK | 204Pb | Wall |  |  | GR Single | [9 empty] | 28 | Blank |  |  | 0.0002 | 5800 | 300 |  |  | V: 2500; V: 2700; V: 2700; V: 2700; V: 3000; V: 3000; V: 0; V: 0; V: 0; V: 0; V: 0; V: 0
15 | 2025-03-21 |  | 12:49 |  | Calib | brhoを+99%に変更（途中で磁場設定が変わってしまった） |  | 204Pb | Wall |  |  | GR Single | [9 empty] | 28 | Blank |  |  | 0.0002 | 5800 | 300 |  |  | V: 2500; V: 2700; V: 2700; V: 2700; V: 3000; V: 3000; V: 0; V: 0; V: 0; V: 0; V: 0; V: 0
16 | 2025-03-21 | 12:56 | 13:04 |  | Calib | brhoを+98%に変更 | [15 empty] | 28 | Blank |  |  | 0.0002 | 5800 | 300 |  |  | V: 2500; V: 2700; V: 2700; V: 2700; V: 3000; V: 3000; V: 0; V: 0; V: 0; V: 0; V: 0; V: 0
17 | 2025-03-21 | 13:08 | 13:16 |  | Calib | brhoを+99%に変更（再度データを取り直す） | [15 empty] | 28 | Blank |  |  | 0.0002 | 5800 | 300 |  |  | V: 2500; V: 2700; V: 2700; V: 2700; V: 3000; V: 3000; V: 0; V: 0; V: 0; V: 0; V: 0; V: 0
18 | 2025-03-21 |  |  |  | Calib | DAQtest |  | natC | Wall |  |  | GR+LAS
19 | 2025-03-21 |  |  |  | Calib | DAQtest
20 | 2025-03-21 |  |  |  | Calib | DAQtest |  | natC | Wall |  |  | GR+LAS
21 | 2025-03-21 |  |  |  | Calib | Detector tuning GR+LAS M-MsettingFC SC => Wall, natC GRPla, 1L 2500 1R 2700, 2 2700V, 3 off, LASPla, 3000V, trig=GR_PS2 & LAS_PS 1, sh5=+-0.4mm |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank |  |  | 0.0002 | 5800 | 300 | 58.56 | Sieve | V: 4400; V: 300; V: 2500; V: 2700; V: 2700; V: 2700; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
22 | 2025-03-21 |  |  |  |  | DAQ test
23 | 2025-03-21 |  |  |  |  | DAQ test
24 | 2025-03-21 |  | 20:13 |  |  | Detector tuning GR+LAS M-MsettingFC SC => Wall, natC GRPla, 1L 2500 1R 2700, 2 2700V, 3 off, LASPla, 3000V, trig=GR_PS2 & LAS_PS 1, sh5=+-0.4mm |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank |  |  | 0.0002 | 5800 | 300 | 58.56 | Sieve | V: 4400; V: 300; V: 2500; V: 2700; V: 2700; V: 2700; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
25 | 2025-03-21 | 20:14 | 21:33 |  |  | Detector tuning GR+LAS M-MsettingFC SC => Wall, natC GRPla, 1L 2500 1R 2700, 2 2700V, 3 off, LASPla, 3000V, trig=GR_PS2 & LAS_PS 1, sh5=+-0.4mm |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank |  |  | 0.0002 | 5800 | 300 | 58.56 | Sieve | V: 4400; V: 300; V: 2500; V: 2700; V: 2700; V: 2700; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
26 | 2025-03-21 | 21:34 | 21:34 |  |  | junk
27 | 2025-03-21 | 22:55 | 23:08 |  |  | junk
28 | 2025-03-22 | 0:52 |  |  |  | VDC pla2 or Las pla1に変更 |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank | 1047.656 | 125.741 | 0.0002 | 5800 | 300 | 58.56 | Sieve | 925.413 | 223.6 | 0.01 | 0.01 | 4400 | 300 | 2500 | 2700 | 2700 | 2700 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000
29 | 2025-03-22 | 1:40 | 1:47 |  |  | LAS 4400V -> 4500V に変更 | 今までLAS側にシーブスリットが入っていた。 | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank | 1047.656 | 125.741 | 0.0002 | 5800 | 300 | 58.56 | Sieve | 925.413 | 223.6 | 0.01 | 0.01 | 4500 | 300 | 2500 | 2700 | 2700 | 2700 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000
30 | 2025-03-22 | 1:55 |  |  |  | LAS側にシーブスリットを抜いた。 |  | natC | Wall | 50 | 200 | GR+LAS | 53k | 300k | [7 empty] | 46.26 | Blank | 1047.656 | 125.741 | 0.0002 | 5800 | 300 | 58.56 | Blank | 925.413 | 223.6 | 0.01 | 0.01 | 4500 | 300 | 2500 | 2700 | 2700 | 2700 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000
31 | 2025-03-22 | 2:37 | 2:50
32 | 2025-03-22 | 2:51 | 2:58 |  |  | LAS側のPlaを変更。
33 | 2025-03-22 | 2:59 | 3:06 |  |  | LAS側のPla1800V, 2000Vに変更 |  | natC | Wall | 65 | 200 | GR+LAS | 70k | 100k | [7 empty] | 46.26 | Blank | 1047.656 | 125.741 | 0.0002 | 5800 | 300 | 58.56 | Blank | 925.413 | 223.6 | 0.01 | 0.01 | 4500 | 300 | 2500 | 2700 | 2700 | 2700 | 1800 | 2000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000
34 | 2025-03-22 | 3:08 | 3:55 |  |  | トリガーをLASpla1 and GRpla2に変更 |  | natC | Wall | 70 | 200 | GR+LAS | 50k | 100k | [7 empty] | 46.26 | Blank | 1047.656 | 125.741 | 0.0002 | 5800 | 300 | 58.56 | Blank | 925.413 | 223.6 | 0.01 | 0.01 | 4500 | 300 | 2500 | 2700 | 2700 | 2700 | 1800 | 2000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000
46 | 2025-03-22 | 11:57 | 12:25 |  |  | GR pla2 2900V->1800V |  | natC | Wall |  | 200 | GR+LAS |  |  | 410000 | 30000 | 200000 | 100000 | 20000 | 10000 | 75000 | 46.26 | Blank |  |  |  | 5800 | 300 | 58.56 | Blank |  |  |  |  | 0 | 0 | 2500 | 2700 | 2900->1800 | 2900->1801 | 1800 | 2000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0 | 83000 | 85000 | 60000 | 70000 | 7600000 | 4700000 | 6100000 | 3200000
47 | 2025-03-22 | 12:27 |  |  |  | GR pla2 1800V LAS VDC ON(4500V) |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank |  |  |  | 5800 | 300 | 58.56 | Blank |  |  |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 1800 | 2000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
48 | 2025-03-22 | 12:54 |  |  |  | LAS pla3L,3R 1500V |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank |  |  |  | 5800 | 300 | 58.56 | Blank |  |  |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 1500 | 1500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
49 | 2025-03-22 |  |  |  |  | LAS pla3L,3R 1700V |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank |  |  |  | 5800 | 300 | 58.56 | Blank |  |  |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 1700 | 1700 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
50 | 2025-03-22 | 13:15 | 13:18 | 0:03 |  | LAS pla3L,3R 2000V |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank |  |  |  | 5800 | 300 | 58.56 | Blank |  |  |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2000 | 2000 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
51 | 2025-03-22 | 13:18 | 13:27 | 0:09 |  | LAS pla3L,3R 2300V |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank |  |  |  | 5800 | 300 | 58.56 | Blank |  |  |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2300 | 2300 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
52 | 2025-03-22 | 13:28 | 14:00 | 0:32 |  | LAS pla3L,3R 2500V |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank |  |  |  | 5800 | 300 | 58.56 | Blank |  |  |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1000 | 2025-03-22 | 14:57 | 16:20 | 1:23 | Physics | natC(p,pa) |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank
1001 | 2025-03-22 | 16:23 | 17:27 | 1:04 | Physics | mylar(p.pa) |  | Mylar | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank
1002 | 2025-03-22 | 17:29 | 18:42 | 1:13 | Physics | mylar(p.pa) |  | Mylar | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank
1003 | 2025-03-22 | 18:43 |  |  | Physics | natC(p,pa) | Changing HV of LAS VDC | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank
1004 | 2025-03-22 |  |  |  | Physics | 4500->4600V |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank
1005 | 2025-03-22 | 19:13 | 19:44 | 0:31 | Physics | natC(p,pa) LAS VDC HV 4600->4700V |  | natC | Wall |  |  | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4600, 4700 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1006 | 2025-03-22 | 19:44 | 19:55 | 0:11 | Physics | natC(p,pa) LAS VDC HV4500V | Beam down / Beam tuning after this | natC | Wall | 50 | 200 | GR+LAS | 2k | 260k | [7 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1007 | 2025-03-22 | 20:29 | 20:39 | 0:10 | Calib | mylar(p.pa) Wall FC calibration 1.2nA |  | Mylar | Wall | 50 | 200 | GR+LAS | [10 empty] | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1008 | 2025-03-22 | 20:51 | 21:00 | 0:09 | Calib | mylar(p.pa) SC FC calibration 1.2nA |  | Mylar | SC | 50 | 20 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1009 | 2025-03-22 | 21:08 | 22:08 | 1:00 | Physics | mylar(p.pa) |  | Mylar | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1010 | 2025-03-22 | 22:09 | 23:09 | 1:00 | Physics | mylar(p.pa) |  | Mylar | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1011 | 2025-03-22 | 23:10 | 23:21 | 0:12 | Physics | mylar(p.pa) | JUNK | Mylar | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1012 | 2025-03-22 | 23:23 | 24:23 | 1:00 | Physics | mylar(p.pa) |  | Mylar | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1013 | 2025-03-23 | 0:24 | 1:23 | 0:59 | Physics | mylar(p.pa) |  | Mylar | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1014 | 2025-03-23 | 1:24 | 2:23 | 0:59 | Physics | mylar(p.pa) |  | Mylar | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1015 | 2025-03-23 | 2:24 | 3:25 | 1:01 | Physics | mylar(p.pa) |  | Mylar | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1016 | 2025-03-23 | 3:27 | 4:27 | 1:00 | Physics | natC(p,pa) |  | natC | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1017 | 2025-03-23 | 4:33 | 4:43 | 0:11 | Calib | Mylar(p,pa) Wall FC 2nA calib run |  | Mylar | Wall | 2 | 20 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1018 | 2025-03-23 | 4:51 | 5:01 | 0:10 | Calib | Mylar(p,pa) SC FC 2nA calib run |  | Mylar | Wall | 2 | 20 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1019 | 2025-03-23 | 5:08 | 6:08 | 1:00 | Physics | 208Pb(p,pa) |  | 208Pb | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1020 | 2025-03-23 | 6:09 | 7:09 | 1:00 | Physics | 208Pb(p,pa) |  | 208Pb | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1021 | 2025-03-23 | 7:09 | 8:09 | 1:00 | Physics | 208Pb(p,pa) |  | 208Pb | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1022 | 2025-03-23 | 8:09 | 9:09 | 1:00 | Physics | 208Pb(p,pa) |  | 208Pb | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1023 | 2025-03-23 | 9:10 | 10:07 | 0:57 | Physics | 208Pb(p,pa) | LAS D magnet value is changing.. | 208Pb | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1024 | 2025-03-23 | 10:16 | 11:16 | 1:00 | Physics | 208Pb(p,pa) |  | 208Pb | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1025 | 2025-03-23 | 11:17 | 11:29 | 0:12 | Physics | 208Pb(p,pa) | Beam Down | 208Pb | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.407 | 90.874 |  | 5800 | 300 |  | Blank | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
1026 | 2025-03-23 | 18:58 |  |  |  |  | JUNK
1027 | 2025-03-23 | 19:08 |  |  |  |  | JUNK
1028 | 2025-03-23 | 19:17 | 22:16 |  | Calib | natC(p,pa) sieve slit eith GR or LAS trigger |  | natC | Wall | 50 | 200 | GR+LAS | [9 empty] | 46.26 | Sieve | 925.407 | 90.874 |  | 5800 | 300 |  | Sieve | -654.93 | 223.8264 |  |  | 4500 | 300 | 2500 | 2700 | 1800 | 1800 | 2500 | 2500 | 3000 | 3000 | 3000 | 3000 | 3000 | 3000 | 0 | 0 | 0 | 0
3/31 mesurment restart
2000 | 2025-03-31 | 19:13 | 19:19 | 0:06 | Calib | 208Pb(p,p) GR singles trigger, resolution check | JUNK | 208Pb | Wall | 3 | 200 | GR Single | [9 empty] | 28 | Blank | 1047.673 | 102.881
2001 | 2025-03-31 | 19:22 | 19:49 | 0:27 | Calib | 208Pb(p,p) GR singles trigger, resolution check sh5+-1mm |  | 208Pb | Wall | 3 | 200 | GR Single | [9 empty] | 28 | Blank | 1047.673 | 102.881 |  | 5800 | 300 |  | Sieve | mT: 0; A: 0
2002 | 2025-03-31 | 19:50 | 20:13 | 0:23 | Calib | 208Pb(p,p) GR singles trigger, resolution check sh5+-0.5mm |  | 208Pb | Wall | 3 | 200 | GR Single | [9 empty] | 28 | Blank | 1047.673 | 102.881 |  | 5800 | 300 |  | Sieve | mT: 0; A: 0
2003 | 2025-03-31 | 20:14 | 20:32 | 0:18 | Calib | 208Pb(p,p) GR singles trigger, resolution check sh5+-2mm |  | 208Pb | Wall | 3 | 200 | GR Single | [9 empty] | 28 | Blank | 1047.673 | 102.881 |  | 5800 | 300 |  | Sieve | mT: 0; A: 0
2004 | 2025-03-31 | 20:34 | 20:44 | 0:10 | Calib | 208Pb(p,p) GR singles trigger, resolution check sh5+-4mm |  | 208Pb | Wall | 3 | 200 | GR Single | [9 empty] | 28 | Blank | 1047.673 | 102.881 |  | 5800 | 300 |  | Sieve | mT: 0; A: 0
2005 | 2025-03-31 | 20:51 | 21:06 | 0:15 | Calib | 208Pb(p,p) GR singles trigger, dispersion sh5+-0.5 ratio 100% |  | 208Pb | Wall | 70 | 200 | GR Single | [9 empty] | 28 | Blank | 1047.673 | 102.881 |  | 5800 | 300 |  | Sieve | mT: 0; A: 0; V: 0; V: 0; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2006 | 2025-03-31 | 22:42 | 22:57 | 0:15 | Calib | 208Pb(p,p) GR singles trigger, dispersion sh5+-0.5 ratio 101% | comment in the data is wrong, 101% is true. | 208Pb | Wall | 90 | 200 | GR Single | [9 empty] | 28 | Blank | 1058.15 | 103.909 |  | 5800 | 300 |  | Sieve | mT: 0; A: 0; V: 0; V: 0; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2007 | 2025-03-31 | 23:04 | 23:19 | 0:15 | Calib | 208Pb(p,p) GR singles trigger, dispersion sh5+-0.5 ratio 97.5% |  | 208Pb | Wall | 90 | 200 | GR Single | [9 empty] | 28 | Blank | 1021.481 | 100.309 |  | 5800 | 300 |  | Sieve | mT: 0; A: 0; V: 0; V: 0; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2008 | 2025-03-31 | 23:24 | 23:39 | 0:15 | Calib | 208Pb(p,p) GR singles trigger, dispersion sh5+-0.5 ratio 98.5% |  | 208Pb | Wall | 90 | 200 | GR Single | [9 empty] | 28 | Blank | 1031.958 | 101.337 |  | 5800 | 300 |  | Sieve | mT: 0; A: 0; V: 0; V: 0; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2009 | 2025-03-31 | 23:43 | 23:59 | 0:15 | Calib | 208Pb(p,p) GR singles trigger, dispersion sh5+-0.5 ratio 99% |  | 208Pb | Wall | 90 | 200 | GR Single | [9 empty] | 28 | Blank | 1037.196 | 101.851 |  | 5800 | 300 |  | Sieve | mT: 0; A: 0; V: 0; V: 0; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2010 | 2025-04-01 | 0:11 | 0:19 | 0:09 | Calib | 208Pb(p,pa) GR or LAS trigger, GR28/LAS58.56, LAS check | Junk trigger setting is wrong, | 208Pb | Wall | 90 | 200 | GR Single | [9 empty] | 28 | Blank | 1037.196 | 101.851 |  | 5800 | 300 |  | Sieve | mT: 0; A: 0; V: 0; V: 0; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2011 | 2025-04-01 | 0:22 | 0:29 | 0:07 | Calib | 208Pb(p,pa) GR or LAS trigger, GR28/LAS58.56, LAS check |  | 208Pb | Wall | 90 | 200 | GR or LAS | [9 empty] | 28 | Blank | 1037.196 | 101.851 |  | 5800 | 300 |  | Sieve | mT: 0; A: 0; V: 0; V: 0; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2012 | 2025-04-01 | 1:01 |  | -0.042118 | Tuning | 208Pb(p,pa) GR or LAS trigger, GR46.26/LAS58.56, LAS check | LAS VDC1P-HV wrong
2013 | 2025-04-01 |  |  | 0:00 | Tuning | 208Pb(p,pa) GR or LAS trigger, GR46.26/LAS58.56, LAS check
2014 | 2025-04-01 | 1:30 |  | -0.062546 | Tuning | NO Beam
2015 | 2025-04-01 | 1:41 | 1:47 | 0:05 | Tuning | natC(p,pa) GR46.26/LAS58.56, GR and LAS trigger LAS check |  | natC | Wall | 90 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4500; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2016 | 2025-04-01 |  |  | 0:00 |  |  | JUNK
2017 | 2025-04-01 | 3:42 |  | -0.15417 | Tuning | natC(p,pa) GR46.26/LAS58.56, GR and LAS trigger LAS check |  | natC | Wall | 60 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Sieve | mT: -654.93; A: 223.8264; V: 4500; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2018 | 2025-04-01 | 3:51 | 3:57 | 0:06 | Tuning | natC(p,pa) GR46.26/LAS58.56, GR and LAS trigger LAS check | [23 empty] | Sieve | V: 4600; V: 300
2019 | 2025-04-01 | 4:03 |  | -0.16884 | Tuning | [24 empty] | Sieve | V: 4600; V: 300
2020 | 2025-04-01 |  |  | 0:00 | [25 empty] | Blank | V: 4800; V: 300
2021 | 2025-04-01 |  |  | 0:00
2022 | 2025-04-01 | 6:35 |  | -0.27444 | Physics | natC(p,pa) GR46.26/LAS58.56, GR and LAS trigger | JUNK | natC | Wall | 100 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2023 | 2025-04-01 | 6:48 |  | -0.28356 | Physics | natC(p,pa) GR46.26/LAS58.56, GR and LAS trigger | JUNK | natC | Wall | 110 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2024 | 2025-04-01 | 6:55 |  | -0.28795 | Physics | natC(p,pa) GR46.26/LAS58.56, GR and LAS trigger |  | natC | Wall | 100 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2025 | 2025-04-01 | 6:59 | 8:07 | 1:08 | Physics | natC(p,pa) GR46.26/LAS58.56, GR and LAS trigger |  | natC | Wall | 100 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2026 | 2025-04-01 | 8:07 | 9:07 | 1:00 | Physics | natC(p,pa) GR46.26/LAS58.56, GR and LAS trigger |  | natC | Wall | 100 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2027 | 2025-04-01 | 9:14 | 10:14 | 1:00 | Physics | Mylar(p,pa) GR46.26/LAS58.56, GR and LAS trigger | run comment is wrong (natC(p,pa)ではなくMylar) | Mylar | Wall | 124 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2028 | 2025-04-01 | 10:15 | 11:15 | 1:00 | Physics | Mylar(p,pa) GR46.26/LAS58.56, GR and LAS trigger |  | Mylar | Wall | 130 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2029 | 2025-04-01 | 11:31 | 11:36 | 0:05 | Calib | Mylar(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 2nA ,FC caslibratipn | beam current is 2nA , Wall FC calibration run | Mylar | Wall | 2 | 20 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2030 | 2025-04-01 | 11:44 | 11:53 | 0:09 | Calib | Mylar(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 2nA ,FC caslibratipn SC | beam current is 2nA , SC FC calibration run | Mylar | SC | 2 | 20 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2031 | 2025-04-01 | 12:01 | 13:01 | 1:00 | Physics | Mylar(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 100nA |  | Mylar | Wall | 100 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2032 | 2025-04-01 | 13:03 | 14:06 | 1:03 | Physics | Mylar(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 100nA |  | Mylar | Wall | 100 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2033 | 2025-04-01 | 14:06 | 14:41 | 0:35 | Physics | Mylar(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 100nA | after this run, changed to viewer, and then we found that beam spot was different. | Mylar | Wall | 100 | 200 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2034 | 2025-04-01 | 15:58 | 16:56 | 0:58 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 170nA, SH5 1mm | 16:56 RF Down | 208Pb | Wall | 170 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2035 | 2025-04-01 | 17:09 | 18:19 | 1:10 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 170nA, SH5 1mm |  | 208Pb | Wall | 170 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2036 | 2025-04-01 | 18:26 | 18:39 | 0:13 | Calib | FC calib (Wall) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 2nA, SH5 1mm | target is natC, Wall FC calibration with 2nA | natC | Wall | 2 | 20 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2037 | 2025-04-01 | 18:46 | 18:57 | 0:11 | Calib | FC calib (SC) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 2nA, SH5 1mm | beam current was mostly above 3nA | natC | SC | 2 | 20 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2038 | 2025-04-01 | 19:08 | 20:08 | 1:00 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2039 | 2025-04-01 | 20:08 | 21:11 | 1:03 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 170 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2040 | 2025-04-01 | 21:29 | 22:31 | 1:03 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm, add same gas |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2041 | 2025-04-01 | 22:33 | 23:37 | 1:03 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2042 | 2025-04-01 | 23:37 | 24:10 | 0:33 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm | Beam Down | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2043 | 2025-04-02 | 0:13 | 1:12 | 1:00 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2044 | 2025-04-02 | 1:15 | 2:15 | 1:00 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2045 | 2025-04-02 | 2:16 | 3:15 | 0:59 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2046 | 2025-04-02 | 3:22 | 4:25 | 1:03 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2047 | 2025-04-02 | 4:25 | 4:52 | 0:27 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm | D1magnet is Down | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2048 | 2025-04-02 | 5:22 | 6:20 | 0:59 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2049 | 2025-04-02 | 6:22 | 7:22 | 1:00 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2050 | 2025-04-02 | 7:23 | 8:30 | 1:07 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2051 | 2025-04-02 | 8:33 | 9:33 | 1:00 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2052 | 2025-04-02 | 9:34 | 10:37 | 1:03 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2053 | 2025-04-02 | 10:38 | 11:44 | 1:06 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2054 | 2025-04-02 | 11:44 | 12:44 | 1:00 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2055 | 2025-04-02 | 12:45 | 13:45 | 1:01 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2056 | 2025-04-02 | 13:56 | 14:06 | 0:10 | Calib | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm | FC-Wall Calib with 3nA beam | 208Pb | Wall | 3 | 20 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2057 | 2025-04-02 | 14:14 | 14:28 | 0:14 | Calib | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm | FC-SC Calib with 4nA beam | 208Pb | SC | 4 | 20 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2058 | 2025-04-02 | 14:36 | 15:41 | 1:05 | Physics | Pb208(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 208Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2059 | 2025-04-02 | 15:44 | 16:45 | 1:00 | Physics | Pb204(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 204Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2060 | 2025-04-02 | 16:45 | 17:46 | 1:01 | Physics | Pb204(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 204Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2061 | 2025-04-02 | 17:47 | 18:47 | 1:00 | Physics | Pb204(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 204Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2062 | 2025-04-02 | 18:48 | 18:56 | 0:08 | Physics | Pb204(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 180nA, SH5 1mm |  | 204Pb | Wall | 180 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Blank | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2063 | 2025-04-02 | 19:12 | 20:13 | 1:01 | Calib | 12C(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 250nA, SH5 2mm, LAS sieve GR Blank |  | natC | Wall | 250 | 600 | GR+LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Sieve | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2064 | 2025-04-02 | 20:16 | 20:22 | 0:06 | Calib | 12C(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 250nA, SH5 2mm, LAS sieve GR Blank |  | natC | Wall | 250 | 600 | GR or LAS | [9 empty] | 46.26 | Blank | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Sieve | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
2065 | 2025-04-02 | 20:22 | 21:22 | 1:00 | Calib | 12C(p,pa) GR46.26 / LAS58.56 GR and LAS trigger, LASHV=4800, beam 250nA, SH5 2mm, LAS sieve GR sieve |  | natC | Wall | 250 | 600 | GR or LAS | [9 empty] | 46.26 | Sieve | 925.4 | 90.874 |  | 5800 | 300 | 58.56 | Sieve | mT: -654.93; A: 223.8264; V: 4800; V: 300; V: 2500; V: 2700; V: 1800; V: 1800; V: 2500; V: 2500; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000; V: 3000
physics mesurment is completed !
3001 | [5 empty] | DAQ test data with sieve
3002 | [5 empty] | DAQ test data with sieve
3003 | [5 empty] | DAQ test data with sieve
3004 | [5 empty] | DAQ test data without sieve
3005 | [5 empty] | DAQ test data without sieve
3006 | [5 empty] | DAQ test data without sieve
3007 | [5 empty] | DAQ test data without sieve
3008 | [5 empty] | DAQ test data without sieve
3009 | [5 empty] | DAQ test data without sieve
Note on A69: ====== ID#AAABgr_1S5Q (2025-03-21 03:02:53) This RING_TRIM36 setting was used -Anonymous
Note on A73: ====== ID#AAABgr_1S5M (2025-03-21 03:02:53) This FT-Phase setting was used -Anonymous